## NPgN Demand headroom
Substation | Supply Level | Scenario | 2022
ACKLAM | Primary | Best View | 4.7364
AMBERTON ROAD | Primary | Best View | 17.2291
ANNFIELD 66/20KV | Primary | Best View | 8.4022
ASHINGTON | Primary | Best View | 6.7674
AYCLIFFE FORREST | Primary | Best View | 24.3553
AYCLIFFE INDUSTRIAL | Primary | Best View | 7.1194
BARDEN FRIAR | Primary | Best View | 4.2948
BEDALE | Primary | Best View | 3.3813
BELMONT | Primary | Best View | 9.6666
BENSHAM | Primary | Best View | 13.6139
BENTON SQUARE | Primary | Best View | 6.7807
BENWELL | Primary | Best View | 12.5654
BILLINGHAM MARSH HOUSE | Primary | Best View | 10.384
BILLY MILL | Primary | Best View | 5.384
BIRTLEY GROVE 66/11KV | Primary | Best View | 16.8484
BIRTLEY GROVE 66/20KV | Primary | Best View | 17.6659
BLAYDON BURN | Primary | Best View | 9.2718
BLUCHER 33/11KV | Primary | Best View | 10.7851
BOLDON DOWNHILL | Primary | Best View | 14.4013
BOROUGHBRIDGE/ROECLIFFE INDUSTRIAL | Primary | Best View | 3.8309
BOWESFIELD 33/11KV | Primary | Best View | 22.1324
BOWESFIELD 66/11KV | Primary | Best View | 18.7699
BRANCEPETH | Primary | Best View | 12.8185
BREAMISH STREET | Primary | Best View | 8.7896
BRENDA TRADING | Primary | Best View | 8.124
CAMPLESHON ROAD | Primary | Best View | 8.807
CARLEY HILL | Primary | Best View | 7.9495
CARLIN HOW T3 T4 | Primary | Best View | 10.5984
CARR HILL | Primary | Best View | 6.0304
CATTERICK CAMP | Primary | Best View | 7.9976
CLOSE | Primary | Best View | 10.0263
CONEYTHORPE | Primary | Best View | 7.8773
CONSETT | Primary | Best View | 15.5451
CORPORATION STREET | Primary | Best View | 14.0802
COWTON | Primary | Best View | 6.8646
CRAMLINGTON T1 T3 | Primary | Best View | 12.1485
CRAMLINGTON T2 T4 | Primary | Best View | 14.5801
DARLEY | Primary | Best View | 4.6488
DARLINGTON 132/6KV | Primary | Best View | 9.016
DARLINGTON 33/11KV | Primary | Best View | 10.3826
DARLINGTON CENTRAL 33/11KV | Primary | Best View | 14.9935
DARLINGTON EAST | Primary | Best View | 6.4786
DARLINGTON WEST | Primary | Best View | 7.0441
DENWICK | Primary | Best View | 10.5231
DUNSTON 66/11KV | Primary | Best View | 8.7156
DUNSTON 66/20KV | Primary | Best View | 6.6467
DURHAM EAST | Primary | Best View | 6.0613
EASTFIELD | Primary | Best View | 16.3329
EASTGATE CEMENT | Primary | Best View | 18.6884
EDUCATIONAL PRECINCT | Primary | Best View | 8.0681
ELVINGTON | Primary | Best View | 8.822
FARADAY STREET | Primary | Best View | 3.6214
FAWDON T1 & SEATON BURN T1 | Primary | Best View | 5.0968
FISHBURN | Primary | Best View | 11.4455
FLATWORTH CENTRAL | Primary | Best View | 9.8614
FOSS ISLANDS | Primary | Best View | 9.2436
FOSSWAY 33/11KV | Primary | Best View | 8.378
FYLANDS BRIDGE | Primary | Best View | 6.0414
GALE LANE | Primary | Best View | 13.2304
GARWOOD STREET | Primary | Best View | 17.6312
GATESHEAD CENTRAL | Primary | Best View | 8.5002
GATESHEAD EAST | Primary | Best View | 24.8443
GOSFORTH 33/11KV | Primary | Best View | 15.6943
GRANGETOWN | Primary | Best View | 7.5994
GREATHAM | Primary | Best View | 14.3536
GUISBOROUGH T1 T2 | Primary | Best View | 8.484
HARLOW GREEN | Primary | Best View | 3.1148
HARMIRE BRIDGE | Primary | Best View | 14.4055
HARRATON | Primary | Best View | 10.5937
HARROGATE 132/11KV | Primary | Best View | 10.1477
HARROGATE WEST | Primary | Best View | 19.0969
HARTMOOR 66/20KV | Primary | Best View | 8.8406
HAWTHORN PIT | Primary | Best View | 6.7411
HAXBY ROAD T2 T3 | Primary | Best View | 3.8818
HEBBURN | Primary | Best View | 27.0699
HEBBURN WEST | Primary | Best View | 21.022
HEDWORTH | Primary | Best View | 18.8748
HEIGHINGTON | Primary | Best View | 12.8103
HEXHAM | Primary | Best View | 14.9749
HIGH BARMSTON | Primary | Best View | 1.4237
HIGH FLATTS | Primary | Best View | 7.2399
HOUGHTON | Primary | Best View | 18.4619
HOWDON | Primary | Best View | 18.0736
HUNTINGTON NEW LANE | Primary | Best View | 7.8201
HUSTHWAITE 33/11KV | Primary | Best View | 7.9097
JARROW | Primary | Best View | 20.4128
KENTON | Primary | Best View | 9.2382
KIELDER | Primary | Best View | 3.0221
KILLINGWORTH | Primary | Best View | 7.9338
KIRBYMOORSIDE | Primary | Best View | 14.9473
LINTON 66/20KV | Primary | Best View | 20.6304
LONGBENTON | Primary | Best View | 9.3757
LOW SPENNYMOOR | Primary | Best View | 14.7571
LYNEMOUTH | Primary | Best View | 35.7378
MADDISON STREET | Primary | Best View | 6.2527
MALLEABLE | Primary | Best View | 16.0891
MALTON | Primary | Best View | 6.9385
MEADOWFIELD | Primary | Best View | 15.2318
MELROSEGATE 33/11KV | Primary | Best View | 23.7515
MILLBANK LANE | Primary | Best View | 4.7564
MONKSEATON | Primary | Best View | 1.8608
MOOR MONKTON PUMPS | Primary | Best View | 2.7059
MORPETH | Primary | Best View | 9.9949
MOUNT ROAD | Primary | Best View | 6.9684
NEWBURN HAUGH | Primary | Best View | 31.7965
NEWBY | Primary | Best View | 12.6593
NEWCASTLE AIRPORT | Primary | Best View | 12.426
NEWTON AYCLIFFE SOUTH | Primary | Best View | 9.584
NORTH STREET | Primary | Best View | 13.6592
NORTH TEES T1 T2 | Primary | Best View | 15.8633
NORTH TEES T3 T4 | Primary | Best View | 20.7354
NORTHALLERTON | Primary | Best View | 6.4793
NORTON 132/11KV | Primary | Best View | 7.7653
OATLANDS | Primary | Best View | 13.5647
OFFERTON 33/11KV | Primary | Best View | 14.5331
PALLION TRADING | Primary | Best View | 9.5206
PETERLEE INDUSTRIAL | Primary | Best View | 12.2147
PETERLEE WEST | Primary | Best View | 21.5363
PILGRIM | Primary | Best View | 17.4074
POTTER HOUSE T1 T3 | Primary | Best View | 10.0216
POTTER HOUSE T4 T5 | Primary | Best View | 23.1682
PRISSICK | Primary | Best View | 3.4474
RAVENSCAR | Primary | Best View | 6.5875
RAWCLIFFE LANE | Primary | Best View | 10.248
REDCAR | Primary | Best View | 12.3705
RESERVOIR | Primary | Best View | 9.3765
RICHMOND T1 | Primary | Best View | 17.0416
RICHMOND T2 | Primary | Best View | 19.9126
RIPON | Primary | Best View | 27.6396
RISE CARR | Primary | Best View | 13.1225
ROMANBY | Primary | Best View | 4.5817
RUDBY | Primary | Best View | 3.4492
SCARBOROUGH 33/11KV | Primary | Best View | 13.2755
SEGHILL | Primary | Best View | 21.341
SESSAY BRIDGE_SOWERBY | Primary | Best View | 11.292
SEVERUS HILL | Primary | Best View | 10.7539
SHERIFF HUTTON | Primary | Best View | 13.594
SHOTTON | Primary | Best View | 11.1515
SIMONSIDE | Primary | Best View | 11.8157
SKELDERGATE | Primary | Best View | 17.7029
SKERNESIDE | Primary | Best View | 14.8047
SPENCERBECK | Primary | Best View | 12.821
SPENNYMOOR 66/20KV | Primary | Best View | 24.1032
STARBECK | Primary | Best View | 1.5662
STOKESLEY | Primary | Best View | 6.4776
STONEY CUT | Primary | Best View | 12.2954
SUNDERLAND T1 T2 | Primary | Best View | 5.0672
SUNDERLAND T5 T6 | Primary | Best View | 27.9653
TANFIELD | Primary | Best View | 20.423
TEAM VALLEY | Primary | Best View | 7.7033
TEES INDUSTRIAL T1 T2 | Primary | Best View | 2.4493
TEMPLE PARK | Primary | Best View | 9.5103
THIRSK | Primary | Best View | 4.7296
THORNTON DALE | Primary | Best View | 9.2179
TORONTO 66/20KV | Primary | Best View | 24.3702
TUNSTALL | Primary | Best View | 13.1594
TYNEMOUTH CENTRAL | Primary | Best View | 12.3019
UNIVERSITY | Primary | Best View | 12.2874
URLAY NOOK | Primary | Best View | 32.294
USWORTH | Primary | Best View | 6.7377
WALKER | Primary | Best View | 8.76
WANSBECK | Primary | Best View | 30.762
WARDLEY | Primary | Best View | 24.6164
WARKWORTH | Primary | Best View | 9.8411
WENSLEYDALE | Primary | Best View | 9.7939
WEST HARTFORD | Primary | Best View | 11.6898
WEST SOUTHWICK | Primary | Best View | 12.8943
WEST WYLAM | Primary | Best View | 11.4783
WESTERHOPE | Primary | Best View | 12.2034
WESTOE | Primary | Best View | 12.508
WHITBY T1 | Primary | Best View | 14.3593
WHITBY T2 | Primary | Best View | 5.6312
WHITBY WEST T1 | Primary | Best View | 19.9627
WHITBY WEST T2 | Primary | Best View | 18.8346
WILLINGTON | Primary | Best View | 12.4358
WORMALD GREEN 132/11KV | Primary | Best View | 16.9494
WYNYARD | Primary | Best View | 35.6722
YEDINGHAM | Primary | Best View | 4.9945
YORK UNIVERSITY | Primary | Best View | 11.9625

## NPgY Demand headroom
Substation | Supply Level | Scenario | 2022
ABBEY ROAD | Primary | Best View | 15.2826
AIREDALE ROAD | Primary | Best View | 10.9275
ALDHAM | Primary | Best View | 9.8643
ALFRED GELDER STREET | Primary | Best View | 11.4344
ALLERTON HILL T1 | Primary | Best View | 17.2895
ALLERTON HILL T2 | Primary | Best View | 18.0061
ALVERTHORPE ROAD | Primary | Best View | 8.084
ARMOURIES DRIVE | Primary | Best View | 20.0453
ARMTHORPE | Primary | Best View | 1.6733
ARUNDEL STREET | Primary | Best View | 8.1949
ASKERN | Primary | Best View | 13.5054
AUDBY LANE | Primary | Best View | 6.0351
AUSTERFIELD | Primary | Best View | 3.1615
BAILIFF BRIDGE | Primary | Best View | 16.612
BALBY | Primary | Best View | 9.1122
BALME STREET | Primary | Best View | 13.8912
BARNBURGH | Primary | Best View | 16.1706
BARNOLDSWICK | Primary | Best View | 8.7689
BARNSLEY | Primary | Best View | 7.1144
BARNSLEY ROAD | Primary | Best View | 22.7438
BARROW | Primary | Best View | 4.4091
BARUGH 66/11KV | Primary | Best View | 12.7755
BARWICK | Primary | Best View | 11.6965
BASLOW ROAD | Primary | Best View | 15.2637
BATLEY | Primary | Best View | 4.2824
BEAL | Primary | Best View | 3.2152
BEESTON ROYDS 33/11KV | Primary | Best View | 17.1771
BEESTON ROYDS 6/7 | Primary | Best View | 4.0309
BEIGHTON | Primary | Best View | 8.7236
BELLHOUSE ROAD | Primary | Best View | 12.3984
BELMONT AVENUE | Primary | Best View | 6.4376
BELMONT COVERT | Primary | Best View | 6.9475
BELTHORPE LANE | Primary | Best View | 4.8286
BENTLEY | Primary | Best View | 13.4638
BILLET LANE | Primary | Best View | 13.8242
BINBROOK | Primary | Best View | 5.3588
BINGLEY 33/11KV | Primary | Best View | 11.9905
BIRKBY | Primary | Best View | 12.9495
BLACKBURN MEADOWS 33/11KV | Primary | Best View | 11.5128
BLUE BOY STREET | Primary | Best View | 13.4262
BOC BRINSWORTH | Primary | Best View | 18.4476
BOLTON ROAD | Primary | Best View | 8.3332
BOTTESFORD | Primary | Best View | 9.5755
BRAMHOPE | Primary | Best View | 4.4567
BRAMLEY | Primary | Best View | 13.1245
BRETT STREET | Primary | Best View | 6.415
BRIDGES ROAD | Primary | Best View | 7.5876
BRIGHOUSE 33/11KV | Primary | Best View | 4.7279
BRODSWORTH | Primary | Best View | 9.1649
BROOKFIELD STREET | Primary | Best View | 8.8529
BTP | Primary | Best View | 9.6709
BURLEY STREET | Primary | Best View | 11.115
BURMANTOFTS | Primary | Best View | 10.7924
BURNLEYVILLE | Primary | Best View | 11.2324
BURTON PIDSEA | Primary | Best View | 5.9894
BURTON ROAD | Primary | Best View | 6.1189
BUSLINGTHORPE GREEN | Primary | Best View | 14.7694
BUTTERWICK | Primary | Best View | 1.3118
CAISTOR | Primary | Best View | 3.1029
CALDER WHARF | Primary | Best View | 8.6659
CARLTON HILL | Primary | Best View | 10.1856
CARR LANE | Primary | Best View | 6.2509
CHELKER RESERVOIR | Primary | Best View | 4.0031
CHEVIN END | Primary | Best View | 22.7655
CLARENCE ROAD | Primary | Best View | 9.4902
CLARENDON ROAD | Primary | Best View | 14.2086
CLARENDON STREET | Primary | Best View | 8.6446
CLAYWHEELS LANE | Primary | Best View | 5.4047
CLOUGH LANE | Primary | Best View | 0.016883
COMMONSIDE LANE | Primary | Best View | 17.7995
CONVAMORE ROAD | Primary | Best View | 12.3175
CONYARD ROAD | Primary | Best View | 15.1116
CORNWALL STREET | Primary | Best View | 22.8326
CORRINGHAM ROAD | Primary | Best View | 10.1291
COSTHORPE | Primary | Best View | 2.2462
COUNTY ROAD NORTH | Primary | Best View | 8.8742
CRACOE | Primary | Best View | 3.4145
CROOKESMOOR ROAD | Primary | Best View | 9.6045
CROSSHILLS | Primary | Best View | 3.8902
CROWLE | Primary | Best View | 0.53668
CROWN STREET | Primary | Best View | 2.9849
DALTON | Primary | Best View | 10.8811
DARNALL | Primary | Best View | 9.0618
DEARNE ROAD | Primary | Best View | 13.5436
DEIGHTON | Primary | Best View | 4.6461
DENBY DALE ROAD | Primary | Best View | 15.4441
DENBY GRANGE | Primary | Best View | 5.2772
DENHOLME | Primary | Best View | 2.8765
DINNINGTON | Primary | Best View | 11.8831
DOUGHTY ROAD | Primary | Best View | 4.8285
DOWKER STREET | Primary | Best View | 15.6789
DRAX PRIMARY | Primary | Best View | 1.3736
DRIFFIELD | Primary | Best View | 8.7505
DRONFIELD | Primary | Best View | 13.1042
DUDLEY HILL | Primary | Best View | 13.9524
DUNKESWICK | Primary | Best View | 2.8306
DURKAR LOW LANE | Primary | Best View | 6.0713
EASINGTON | Primary | Best View | 10.4426
EASTFIELD ROAD | Primary | Best View | 2.2846
ECCLESFIELD | Primary | Best View | 10.8015
EDLINGTON | Primary | Best View | 8.3444
EGGBOROUGH | Primary | Best View | 2.5878
ELGAR ROAD | Primary | Best View | 7.9628
ELLAND 33/11KV | Primary | Best View | 6.1859
ELLIFOOT LANE | Primary | Best View | 1.0045
ELLIN STREET 1/3 | Primary | Best View | 25.9435
ELLIN STREET 2 | Primary | Best View | 35.6295
ELMHIRST LANE 1 | Primary | Best View | 20.6299
ELMHIRST LANE 2 | Primary | Best View | 16.3988
ELSECAR | Primary | Best View | 14.4444
ENDIKE LANE | Primary | Best View | 9.9891
EPWORTH | Primary | Best View | 15.6798
FARNLEY CRESCENT | Primary | Best View | 10.9801
FENTON LANE | Primary | Best View | 16.1927
FERRYBRIDGE A 11KV | Primary | Best View | -0.77668
FIR TREE LANE | Primary | Best View | 7.5715
FIRST AVENUE | Primary | Best View | 7.0524
FIRTH BROWN | Primary | Best View | 17.8627
FISH DAM LANE | Primary | Best View | 14.0681
FLIXBOROUGH | Primary | Best View | 6.4786
FOLLY HALL | Primary | Best View | 12.7232
FOUR LANE ENDS | Primary | Best View | 11.2066
FOXHILLS | Primary | Best View | 4.1151
FULLERTON ROAD | Primary | Best View | 15.6072
FURNESS AVENUE | Primary | Best View | 11.0726
GAISBY LANE | Primary | Best View | 10.4883
GIBRALTAR ROAD | Primary | Best View | 8.4749
GIBSON LANE | Primary | Best View | 7.5528
GILDERSOME | Primary | Best View | 11.7882
GLEADLESS VALLEY | Primary | Best View | 14.5952
GOOLE | Primary | Best View | 9.1672
GRAINTHORPE | Primary | Best View | 3.5064
GREAT COATES | Primary | Best View | 9.4045
GREENHILL | Primary | Best View | 3.9902
GREYFRIARS RD | Primary | Best View | 12.3065
GREYFRIARS ROAD 3/4 | Primary | Best View | 25.6923
GRIMETHORPE | Primary | Best View | 16.5207
GROVE STREET | Primary | Best View | 12.9094
GUARDIAN GLASS | Primary | Best View | 24.8622
HACKENTHORPE | Primary | Best View | 8.1553
HALIFAX 33/11KV | Primary | Best View | 21.6356
HALLAM STREET | Primary | Best View | 13.9938
HARDEN | Primary | Best View | 4.5752
HARPSWELL | Primary | Best View | 0.58223
HARWORTH | Primary | Best View | 17.6346
HAWORTH 1 | Primary | Best View | 23.7882
HAWORTH 2 | Primary | Best View | 26.2813
HAXEY | Primary | Best View | 3.4567
HAYTON | Primary | Best View | 22.6471
HAZLEHEAD | Primary | Best View | 20.1338
HEBDEN BRIDGE | Primary | Best View | 4.6247
HEDLEY CHASE | Primary | Best View | 16.7155
HEDON ROAD | Primary | Best View | 13.0638
HEMSWORTH | Primary | Best View | -0.47238
HESSLE ROAD 1 | Primary | Best View | 17.8486
HESSLE ROAD 2 | Primary | Best View | 16.0943
HIBALDSTOW | Primary | Best View | 6.2598
HICKLETON | Primary | Best View | 15.1868
HILLCREST | Primary | Best View | 15.3664
HOLBECK | Primary | Best View | 6.8329
HOLDERNESS | Primary | Best View | 11.7029
HOLME UPON SPALDING MOOR | Primary | Best View | 13.7558
HONLEY | Primary | Best View | 12.8357
HOPE | Primary | Best View | 18.473
HORBURY | Primary | Best View | 12.2794
HOUGHTON MAIN | Primary | Best View | 8.9715
HULL EAST 33/11KV | Primary | Best View | 10.1266
HUMBER ROAD | Primary | Best View | 16.2482
HUNMANBY | Primary | Best View | 17.1898
ICI FIBRES | Primary | Best View | 13.6605
IDLE | Primary | Best View | 10.2974
ILKLEY | Primary | Best View | 10.8747
INGS LANE | Primary | Best View | 2.1958
IVESON HOUSE | Primary | Best View | 10.2825
JARRATT STREET | Primary | Best View | 3.4092
KEDDINGTON ROAD | Primary | Best View | 4.6835
KEIGHLEY | Primary | Best View | 26.0097
KENMORE ROAD | Primary | Best View | 4.8158
KILLINGHALL ROAD | Primary | Best View | 6.6041
KILNHURST | Primary | Best View | 12.5533
KING GEORGE DOCK | Primary | Best View | 21.4349
KIRK DRIVE | Primary | Best View | 11.3611
KIRK SANDALL | Primary | Best View | 15.0194
KIRKBURN | Primary | Best View | 2.1299
KIVETON PARK | Primary | Best View | 6.891
KNOSTROP | Primary | Best View | 0
LEA ROAD | Primary | Best View | 3.3744
LEASOWE ROAD | Primary | Best View | 12.2793
LEDSTON | Primary | Best View | 5.1546
LEEDS ROAD | Primary | Best View | 1.5435
LEGRAMS MILL LANE | Primary | Best View | 12.1579
LEYLANDS ROAD | Primary | Best View | 7.5315
LIVERSEDGE | Primary | Best View | 12.9609
LOUTH | Primary | Best View | 8.8177
LOW MOOR | Primary | Best View | 13.8987
LOWFIELDS | Primary | Best View | 14.5733
LOXLEY ROAD | Primary | Best View | 6.0575
MANCHESTER ROAD | Primary | Best View | 14.9413
MANSFIELD ROAD 1 | Primary | Best View | 3.9761
MANSFIELD ROAD 2 | Primary | Best View | 16
MARKHAM GATES | Primary | Best View | 8.042
MARMION ROAD | Primary | Best View | 7.0348
MARSDEN ROAD | Primary | Best View | 4.7357
MARTONGATE | Primary | Best View | 3.2222
MELTHAM | Primary | Best View | 14.8766
MEXBOROUGH 1_2 | Primary | Best View | 6.662
MIDDLETON TOWN STREET | Primary | Best View | 3.6296
MILLHOUSES | Primary | Best View | 16.8979
MILLROYD STREET | Primary | Best View | 4.6756
MILTON PLACE | Primary | Best View | 9.8261
MIRFIELD | Primary | Best View | 9.5237
MONCKTON | Primary | Best View | 6.3106
MOOR ROAD | Primary | Best View | 1.6838
MOORSIDE ROAD | Primary | Best View | 10.8066
MORLEY | Primary | Best View | 12.5721
MOUNT STREET | Primary | Best View | 10.7744
MYTHOLMROYD | Primary | Best View | 8.5578
NAB LANE | Primary | Best View | 2.8128
NABWOOD | Primary | Best View | 13.1472
NATIONAL AVENUE | Primary | Best View | 17.6768
NEW DROPPINGWELL ROAD | Primary | Best View | 16.3186
NEW ORCHARD LANE | Primary | Best View | 6.6888
NEWHALL ROAD | Primary | Best View | 11.6617
NEWPORT 1 | Primary | Best View | 7.7101
NEWPORT 2 | Primary | Best View | 15.6327
NINELANDS LANE | Primary | Best View | 8.8089
NORFOLK PARK | Primary | Best View | 14.948
NORMANBY | Primary | Best View | 3.0266
NORMANTON | Primary | Best View | 8.4796
NORTH AVENUE | Primary | Best View | 13.003
NORTH THORESBY | Primary | Best View | 4.9415
NORWOOD | Primary | Best View | 7.1776
OAKES ROAD | Primary | Best View | 13.0386
OAKWOOD LANE | Primary | Best View | 15.4553
ODSAL | Primary | Best View | 8.6121
OLYMPIA MILLS | Primary | Best View | 12.6284
ORGREAVE | Primary | Best View | 13.447
OUTWOOD | Primary | Best View | 10.0026
PARK HILL | Primary | Best View | 10.4818
PARK ROAD | Primary | Best View | 7.951
PARK STREET | Primary | Best View | 26.9551
PASTURE ROAD SOUTH | Primary | Best View | 9.6728
PATRINGTON ROAD | Primary | Best View | 2.0398
PENISTONE | Primary | Best View | 13.3176
PENISTONE ROAD | Primary | Best View | 10.6675
PLANGEO | Primary | Best View | 9.6464
POLLINGTON | Primary | Best View | 2.6579
PONTEFRACT LANE 1/2 | Primary | Best View | 11.5527
POOL | Primary | Best View | 15.8472
PRINCE OF WALES | Primary | Best View | 9.7061
PROSPECT ROAD | Primary | Best View | 11.9765
QUEENS ROAD | Primary | Best View | 18.0538
QUEENSBURY | Primary | Best View | 10.4963
RAWCLIFFE | Primary | Best View | 4.7235
RAWDON | Primary | Best View | 11.4928
RAWMARSH ROAD 1_2 | Primary | Best View | 18.218
RAWMARSH ROAD 3_4 | Primary | Best View | 10.8331
RAWSON ROAD | Primary | Best View | 12.388
RAWSON SPRING ROAD | Primary | Best View | 8.7761
REVILL LANE | Primary | Best View | 16.6573
ROCKWARE | Primary | Best View | 5.3529
RODLEY LANE | Primary | Best View | 2.7605
ROMAN AVENUE | Primary | Best View | 13.0858
ROYDS LANE | Primary | Best View | 11.2649
SAINT ANDREWS ROAD 33/11KV | Primary | Best View | 14.0077
SAINT STREET | Primary | Best View | 16.9334
SALTERFORTH | Primary | Best View | 13.0751
SALTERHEBBLE | Primary | Best View | 7.4048
SALTSHOUSE ROAD | Primary | Best View | 8.3522
SANDHILL LANE | Primary | Best View | 3.4434
SAXON ROAD | Primary | Best View | 15.0315
SCARTHO | Primary | Best View | 4.7075
SCHOLES | Primary | Best View | 15.5328
SCISSETT | Primary | Best View | 7.938
SCULCOATES A | Primary | Best View | 16.7931
SEACROFT | Primary | Best View | 13.1914
SEATON | Primary | Best View | 5.8268
SELBY | Primary | Best View | 11.32
SELBY ROAD | Primary | Best View | 3.7758
SHARLSTON | Primary | Best View | 13.1759
SHEPCOTE TINSLEY | Primary | Best View | 10.4119
SHERBURN | Primary | Best View | 6.4353
SHIPLEY | Primary | Best View | 12.5899
SHIRLAND LANE | Primary | Best View | 18.1294
SILVER STREET | Primary | Best View | 14.9487
SILVERWOOD | Primary | Best View | 10.6135
SKILLINGS LANE | Primary | Best View | 15.2108
SKIPTON | Primary | Best View | 6.798
SLAITHWAITE | Primary | Best View | 14.1047
SLEDMERE GARTH | Primary | Best View | 15.0239
SMITH STREET | Primary | Best View | 11.4198
SMITHY GREEN | Primary | Best View | 2.9497
SNAITHING PARK ROAD | Primary | Best View | 11.5973
SNELSINS LANE | Primary | Best View | 13.452
SOUTH ELMSALL | Primary | Best View | 10.4637
SOUTH FERRIBY | Primary | Best View | 16.5533
SOUTH KIRKBY | Primary | Best View | 9.5064
SOUTH RESTON | Primary | Best View | 4.0281
SOUTH STREET | Primary | Best View | 15.0159
SOUTHGATE | Primary | Best View | 13.8548
SOUTHWOOD ROAD | Primary | Best View | 8.2659
SOWERBY BRIDGE 33/11KV | Primary | Best View | 8.402
SPARK MILL LANE | Primary | Best View | 6.2537
SPENBOROUGH | Primary | Best View | 17.3741
SPRING MILL STREET | Primary | Best View | 7.5982
STAINFORTH | Primary | Best View | 9.6406
STAIRFOOT | Primary | Best View | 11.5476
STANLEY STREET | Primary | Best View | 12.137
STANNINGTON ROAD | Primary | Best View | 12.2043
STATION ROAD | Primary | Best View | 4.1563
STEVENSON ROAD | Primary | Best View | 9.1251
STOKE STREET | Primary | Best View | 11.796
STOURTON 132/11KV | Primary | Best View | 0.23734
STOURTON 33/11KV | Primary | Best View | 10.1349
STOW | Primary | Best View | 2.4122
SWAN BANK LANE | Primary | Best View | 13.1098
SWEET STREET | Primary | Best View | 17.6595
SWINNOW MOOR | Primary | Best View | 6.7057
TADCASTER | Primary | Best View | 11.3794
TANKERSLEY PARK | Primary | Best View | 4.7864
TEMPLEBOROUGH 33/11KV | Primary | Best View | 12.8754
THORNBURY | Primary | Best View | 9.3163
THORNE | Primary | Best View | 6.8584
THORNTON | Primary | Best View | 11.4184
THORPE ROAD | Primary | Best View | 10.0865
TICKHILL ROAD | Primary | Best View | 12.1228
TINGLEY | Primary | Best View | 11.9868
TINSLEY PARK ROAD | Primary | Best View | 8.2066
TINSLEY WIRE INDUSTRIES | Primary | Best View | 19.8598
TIVERTON ROAD | Primary | Best View | 9.209
TODMORDEN | Primary | Best View | 11.91
TOLLER LANE | Primary | Best View | 14.1528
TONG STREET | Primary | Best View | 9.2974
UPPER BASINGHALL STREET | Primary | Best View | 9.7179
VARLEY STREET | Primary | Best View | 8.0282
VICTORIA STREET | Primary | Best View | 8.858
WALESBY | Primary | Best View | 2.4381
WARREN LANE | Primary | Best View | 3.784
WATH UPON DEARNE | Primary | Best View | 13.1548
WAVERLEY BUSINESS PARK | Primary | Best View | 24.6744
WAWNE ROAD | Primary | Best View | 15.493
WEELAND ROAD | Primary | Best View | 1.3501
WELLINGTON STREET | Primary | Best View | 6.004
WESLEY CRESCENT | Primary | Best View | 11.7426
WEST DOCKS | Primary | Best View | 10.4126
WEST END LANE | Primary | Best View | 10.8611
WEST MOOR PARK | Primary | Best View | 14.1218
WEST PARK | Primary | Best View | 4.6525
WESTCOTT STREET | Primary | Best View | 9.746
WHEATACRE ROAD | Primary | Best View | 3.7045
WHEATLEY PARK | Primary | Best View | 15.6368
WHINGATE | Primary | Best View | 19.3839
WHITE LEE | Primary | Best View | 11.7642
WHITEHALL ROAD 2/3 | Primary | Best View | 24.6172
WHITEHALL ROAD 4/5 | Primary | Best View | 12.4619
WIBSEY | Primary | Best View | 11.6503
WITHERNSEA | Primary | Best View | 2.9009
WOODCOCK STREET | Primary | Best View | 9.9581
WOODSEATS | Primary | Best View | 13.9824
WOOLLEY | Primary | Best View | 12.9439
WORSBROUGH PARK | Primary | Best View | 10.0166
WRAWBY | Primary | Best View | 12.8225
YARBOROUGH ROAD 33/11KV | Primary | Best View | 9.2794
YEW GREEN ROAD | Primary | Best View | 14.0181
YORK ROAD | Primary | Best View | 6.1701
YORK STREET | Primary | Best View | 8.5496

## SEPD Demand headroom
Substation | Supply Level | Scenario | 2022
ALDERNEY | Primary | Best View | 5.9917
ALDERSHOT | Primary | Best View | 2.7
ALDERTON | Primary | Best View | -0.20514
ALRESFORD | Primary | Best View | -1.489
ALTON LOCAL | Primary | Best View | 9.4472
ANDOVER | Primary | Best View | 19.8167
ANDOVER EAST | Primary | Best View | 9.7222
ANDOVER TOWN | Primary | Best View | 1.7178
ARBORFIELD | Primary | Best View | 7.2902
ARGYLE ROAD | Primary | Best View | 13.7276
ARNCOTT | Primary | Best View | 6.2037
ASCOT | Primary | Best View | 13.0527
ASHLING ROAD | Primary | Best View | -2.0198
ASHTON PARK | Primary | Best View | 3.0362
BAGSHOT | Primary | Best View | 8.9194
BALL HILL | Primary | Best View | 6.9983
BARTON STACEY | Primary | Best View | -0.61576
BASINGSTOKE | Primary | Best View | 18.9211
BASSETT | Primary | Best View | 13.9695
BATH ROAD EAST | Primary | Best View | 1.4984
BATH ROAD WEST | Primary | Best View | 14.2068
BEACONSFIELD (END B/B) | Primary | Best View | 1.4012
BEACONSFIELD (MIDDLE B/B) | Primary | Best View | 0.99904
BEENHAM | Primary | Best View | 3.2853
BEMERTON | Primary | Best View | 17.4681
BERINSFIELD | Primary | Best View | 9.4276
BEVOIS VALLEY | Primary | Best View | 15.5888
BICESTER | Primary | Best View | 38.3035
BILLINGSHURST | Primary | Best View | 2.4545
BILSHAM | Primary | Best View | 13.5958
BINSTEAD | Primary | Best View | 7.9766
BIRDHAM | Primary | Best View | -0.91726
BISHOPS WALTHAM | Primary | Best View | 5.6649
BISHOPSTOKE | Primary | Best View | 4.5924
BITTERNE | Primary | Best View | 0.21477
BLACK BOURTON | Primary | Best View | 4.8979
BLANDFORD | Primary | Best View | 15.354
BLEDDINGTON | Primary | Best View | 0.010218
BORDON | Primary | Best View | 0.68413
BOSCOMBE DOWN | Primary | Best View | 11.5224
BOSCOMBE EAST | Primary | Best View | 12.9325
BOURNE VALLEY | Primary | Best View | 5.4837
BOURTON | Primary | Best View | 0.65668
BOVINGTON | Primary | Best View | 3.9491
BOWERDEAN | Primary | Best View | -0.73705
BRACKNELL | Primary | Best View | 32.2487
BRADFORD-ON-AVON | Primary | Best View | 8.3016
BRAMLEY GREEN | Primary | Best View | 8.9015
BRANDON ROAD | Primary | Best View | 3.1277
BRAYWICK ROAD | Primary | Best View | 8.4194
BRENTFORD | Primary | Best View | 7.9239
BROCKHAMPTON | Primary | Best View | 14.3389
BROCKHURST | Primary | Best View | 9.2267
BROMHAM | Primary | Best View | 1.0602
BROOK STREET | Primary | Best View | 15.8256
BRUTON | Primary | Best View | 1.603
BURFORD | Primary | Best View | 0.88569
BUSHEY | Primary | Best View | 1.2234
BUTTS ASH | Primary | Best View | 6.7147
CALNE | Primary | Best View | -3.3187
CAMBERLEY | Primary | Best View | 57.2342
CANAL BANK 11kV | Primary | Best View | 25.0692
CANAL BANK 6.6kV | Primary | Best View | 10.9672
CARTERTON | Primary | Best View | 11.8268
CASTLE CARY | Primary | Best View | 5.4491
CAUSEWAY | Primary | Best View | 25.5345
CAVERSHAM | Primary | Best View | 15.5409
CENTRAL | Primary | Best View | 4.0631
CENTRAL BRIDGE | Primary | Best View | 20.5126
CERNE ABBAS | Primary | Best View | 0.31543
CHALVEY | Primary | Best View | 39.1237
CHANDLERSFORD | Primary | Best View | 14.0045
CHAPEL | Primary | Best View | 1.6115
CHARLBURY | Primary | Best View | 8.1183
CHARMINSTER | Primary | Best View | 2.9229
CHICHESTER | Primary | Best View | 4.8438
CHICKERELL | Primary | Best View | 6.1895
CHILTON CANTELLO | Primary | Best View | 0.41654
CHINEHAM | Primary | Best View | 14.1625
CHIPPING NORTON | Primary | Best View | 2.8099
CHISBRIDGE | Primary | Best View | 1.6202
CHISLEDON | Primary | Best View | 1.1336
CHOBHAM | Primary | Best View | -0.41638
CHOLSEY | Primary | Best View | 7.0537
CHRISTCHURCH | Primary | Best View | 9.3264
CHURCH ROAD | Primary | Best View | 0.82199
CIRENCESTER TOWN | Primary | Best View | 2.8886
CLARENCE ROAD | Primary | Best View | 13.6266
COCKLEBURY | Primary | Best View | 20.1486
CODFORD | Primary | Best View | 1.7588
COKES LANE | Primary | Best View | 5.6249
COLLEGE PARK | Primary | Best View | 1.2164
CORDWALLIS | Primary | Best View | 10.2895
CORFE MULLEN | Primary | Best View | 19.9668
CORSHAM | Primary | Best View | -0.99758
COTTISFORD | Primary | Best View | -1.7025
COURAGES | Primary | Best View | 13.4288
COVE | Primary | Best View | 12.487
COWLEY LOCAL | Primary | Best View | 4.9594
COXMOOR WOOD | Primary | Best View | 2.9901
CREEKMOOR | Primary | Best View | 3.1847
CRICKLADE | Primary | Best View | 4.8628
CROCKERTON | Primary | Best View | -0.0055874
Crookham (Church) | Primary | Best View | 10.7559
CROWTHORNE | Primary | Best View | 5.5023
DEAN GARDENS | Primary | Best View | 1.345
DEDDINGTON | Primary | Best View | -1.1044
DENHAM AVENUE | Primary | Best View | 0.26383
DEVIZES | Primary | Best View | -2.2844
DORCAN SOUTH | Primary | Best View | 12.4882
DORCHESTER TOWN | Primary | Best View | 10.1958
DOWN GRANGE | Primary | Best View | 9.2358
DRAKES WAY | Primary | Best View | 7.3771
DUNBRIDGE | Primary | Best View | -2.0465
EAST HOWE | Primary | Best View | 8.3548
EASTERTON | Primary | Best View | 5.6739
EASTHAMPSTEAD | Primary | Best View | 10.1676
EASTLEIGH NORTH | Primary | Best View | 8.3587
EASTNEY | Primary | Best View | 12.2955
EGHAM | Primary | Best View | 1.5066
ELECTRIC HOUSE | Primary | Best View | 4.4972
ELMS ROAD | Primary | Best View | 3.8874
EMSWORTH | Primary | Best View | -0.1286
ENFORD | Primary | Best View | 3.6918
EYNSHAM | Primary | Best View | 9.0684
FAIRFORD | Primary | Best View | 5.051
FARINGDON | Primary | Best View | -1.6961
FARLINGTON | Primary | Best View | 12.491
FARNBOROUGH | Primary | Best View | 12.4172
FARNHAM | Primary | Best View | 2.5736
FARNHAM ROYAL | Primary | Best View | 13.1715
FELTHAM | Primary | Best View | 13.4934
FERNDOWN | Primary | Best View | 6.7224
FIVE OAKS | Primary | Best View | 4.9724
FLACKWELL HEATH | Primary | Best View | 14.2605
FLETCHWOOD | Primary | Best View | 11.0581
FORDINGBRIDGE | Primary | Best View | 7.286
FRATTON PARK | Primary | Best View | 1.4662
FRENCHAY ROAD | Primary | Best View | 5.4412
FRESHWATER | Primary | Best View | 6.9447
FRIMLEY | Primary | Best View | 9.2547
FROME | Primary | Best View | 27.0771
FRYERS LANE | Primary | Best View | 6.6924
FULSCOT | Primary | Best View | 6.2464
FYFIELD | Primary | Best View | 4.1277
GABLE HEAD | Primary | Best View | 16.623
GAMBLE ROAD | Primary | Best View | 9.6749
GERRARDS CROSS | Primary | Best View | -0.44666
GILLINGHAM | Primary | Best View | 22.3051
GODALMING | Primary | Best View | 9.8159
GOLDSMITHS | Primary | Best View | 11.9025
GORDON ROAD | Primary | Best View | 7.957
GORING | Primary | Best View | 7.9738
GRASSINGHAM ROAD | Primary | Best View | 6.265
GREETHAM STREET | Primary | Best View | 14.9658
GROVE | Primary | Best View | -1.0961
GUSSAGE ST MICHAEL | Primary | Best View | 1.7154
HAMBLE | Primary | Best View | 13.187
HAMWORTHY | Primary | Best View | 5.8105
HAREFIELD | Primary | Best View | 5.1018
HARESTOCK | Primary | Best View | 7.6469
HARVARD LANE | Primary | Best View | -1.0009
HASLEMERE | Primary | Best View | 2.378
HASLINGBOURNE | Primary | Best View | 2.3175
HAWKERIDGE | Primary | Best View | 1.4679
HAWLEY | Primary | Best View | 11.8424
HEADINGTON | Primary | Best View | 19.7922
HEDGE END | Primary | Best View | 3.7566
HENLEY | Primary | Best View | 11.8019
HENSTRIDGE | Primary | Best View | 13.2823
HERRIARD | Primary | Best View | 5.6244
HIGH WYCOMBE | Primary | Best View | 8.1262
HIGH WYCOMBE TOWN | Primary | Best View | 25.4421
HILSEA | Primary | Best View | 13.2453
HINCHELSEA | Primary | Best View | 7.1451
HINDHEAD | Primary | Best View | 8.4516
HINTON MARTELL | Primary | Best View | 2.1288
HITCHES LANE | Primary | Best View | 14.2975
HOEFORD | Primary | Best View | 0.87684
HOLES BAY | Primary | Best View | 3.1603
HOLWELL | Primary | Best View | -3.0062
HOMINGTON | Primary | Best View | 8.2634
HOOK | Primary | Best View | 13.3904
HOPE AND ANCHOR | Primary | Best View | 4.105
HORNDEAN | Primary | Best View | 6.4359
HOUGHTON | Primary | Best View | 0.46145
HOUNDMILLS | Primary | Best View | 21.1506
HUNGERFORD | Primary | Best View | 1.8218
HUNSTON | Primary | Best View | 9.8023
HURSTBOURNE TARRANT | Primary | Best View | 0.65429
JAYS CLOSE | Primary | Best View | 18.168
KENNINGTON | Primary | Best View | 0.77577
KENTWOOD HILL | Primary | Best View | 2.0305
KIDDINGTON | Primary | Best View | 11.3494
KIDMORE END | Primary | Best View | 4.8651
KINGS RIDE | Primary | Best View | 10.8765
KINGSCLERE | Primary | Best View | 1.3033
KINTBURY | Primary | Best View | 3.5486
KNOWL HILL | Primary | Best View | 0.99704
LABURNAM ROAD | Primary | Best View | 13.1058
LAMBOURN | Primary | Best View | -2.7166
LANGLEY | Primary | Best View | 3.8153
LANGLEY COURT | Primary | Best View | 12.8274
LARKHILL | Primary | Best View | 12.2555
LEAFIELD | Primary | Best View | 1.0755
LEAMINGTON PARK | Primary | Best View | 10.35
LECHLADE | Primary | Best View | 1.9564
LECKHAMPSTEAD | Primary | Best View | -0.14386
LEE-ON-SOLENT | Primary | Best View | 10.1657
LEIGH PARK | Primary | Best View | 13.9775
LITTLE HUNGERFORD | Primary | Best View | 12.2628
LITTLE MARLOW | Primary | Best View | 9.7464
LORDSHILL | Primary | Best View | 16.9554
LOVE LANE | Primary | Best View | 17.0933
LOVELACE ROAD | Primary | Best View | 6.6001
LYMINGTON | Primary | Best View | 10.4086
LYNEHAM | Primary | Best View | -1.5127
M V E E | Primary | Best View | 23.4955
MAIDEN NEWTON | Primary | Best View | 1.7535
MAIDENHEAD | Primary | Best View | 15.3604
MALMESBURY | Primary | Best View | -1.0265
MANCHESTER ROAD | Primary | Best View | 11.7272
MANNINGTON | Primary | Best View | 7.2851
MARKET | Primary | Best View | 5.5511
MARLBOROUGH SOUTH | Primary | Best View | 1.7363
MAYBUSH | Primary | Best View | 4.8627
MELKSHAM TOWN | Primary | Best View | 15.9181
MEYRICK ROAD | Primary | Best View | 5.3763
MIDDLE WALLOP | Primary | Best View | 1.4635
MIDHURST | Primary | Best View | 16.3821
MILBORNE PORT | Primary | Best View | 0.55472
MILFORD | Primary | Best View | 10.6858
MILFORD-ON-SEA | Primary | Best View | 0.61176
Mill Lane, Ringwood | Primary | Best View | 4.1614
MILTON | Primary | Best View | 8.9461
MINCHINGTON | Primary | Best View | 1.8449
MINETY VILLAGE | Primary | Best View | 8.887
MORTIMER | Primary | Best View | 5.0311
NETHERHAMPTON | Primary | Best View | 6.0508
NETLEY COMMON 11kV | Primary | Best View | 28.35
NEW MILTON | Primary | Best View | 5.3735
NEWPORT | Primary | Best View | 10.322
NORMANDY | Primary | Best View | 0.22781
NORTH BADDESLEY | Primary | Best View | -0.80543
NORTH FAREHAM | Primary | Best View | 2.115
NORTH FELTHAM | Primary | Best View | 5.1619
NORTH HINKSEY | Primary | Best View | 0.20009
NORTHLEACH | Primary | Best View | 4.4062
NORTHUMBERLAND AVENUE | Primary | Best View | 5.4472
NUFFIELD | Primary | Best View | 2.7165
OAKRIDGE | Primary | Best View | 17.5889
OLD ROAD | Primary | Best View | 10.7443
OSNEY | Primary | Best View | 8.409
OVERTON | Primary | Best View | 7.7184
PADWORTH | Primary | Best View | 1.4639
PANGBOURNE | Primary | Best View | 17.0945
PARK GATE | Primary | Best View | 14.0189
PARK HOUSE | Primary | Best View | 1.9921
PARK NORTH | Primary | Best View | 10.945
PARK ROYAL | Primary | Best View | -7.9575
PARKSTONE NORTH | Primary | Best View | 4.7658
PARKSTONE SOUTH | Primary | Best View | 19.1433
PEACOCK FARM | Primary | Best View | 8.9341
PETERSFIELD | Primary | Best View | 7.7779
PETERSFIELD AVENUE | Primary | Best View | 20.7159
PETERSFINGER | Primary | Best View | 1.3755
PEWSEY | Primary | Best View | 7.1743
PIDDLETRENTHIDE | Primary | Best View | 2.2201
PLAISTOW | Primary | Best View | 9.0295
PLESSEY Swindon | Primary | Best View | 15.525
PLESSY TITCHFIELD | Primary | Best View | 13.3624
PORTCHESTER | Primary | Best View | 0.68459
PORTLAND | Primary | Best View | 7.227
PORTSMOUTH | Primary | Best View | 24.2943
PORTWAY | Primary | Best View | 11.7584
POYLE | Primary | Best View | 7.1109
PRESSED STEEL SWINDON SE | Primary | Best View | 2.5905
PRESTON CANDOVER | Primary | Best View | 8.466
PUDDLETOWN | Primary | Best View | 2.8345
PULHAM | Primary | Best View | 0.050464
PURBROOK | Primary | Best View | 3.5352
QUARRY ROAD | Primary | Best View | 6.8623
QUEENSMEAD | Primary | Best View | 2.9903
RAMSBURY | Primary | Best View | 3.2781
READING | Primary | Best View | 11.5279
READING TOWN | Primary | Best View | 54.4839
REDHILL | Primary | Best View | 13.6286
REDLANDS | Primary | Best View | 5.3128
REDLYNCH | Primary | Best View | 2.0058
REGENTS PARK | Primary | Best View | 15.8144
RISSINGTON | Primary | Best View | 4.2774
RIVERSIDE | Primary | Best View | 8.7089
ROCKBOURNE | Primary | Best View | 0.17386
ROMSEY | Primary | Best View | 4.1785
ROSE GREEN | Primary | Best View | 5.2949
ROSE HILL | Primary | Best View | 3.8254
ROWDEN | Primary | Best View | 6.8347
ROWNER PARK | Primary | Best View | 19.6674
RYDE | Primary | Best View | 10.2528
SALISBURY CENTRAL | Primary | Best View | 15.183
SANDHURST | Primary | Best View | 7.4548
SANDOWN | Primary | Best View | 2.2592
SELSEY | Primary | Best View | 1.8355
SHAFTESBURY | Primary | Best View | 10.1443
SHALFLEET | Primary | Best View | 7.3867
SHANKLIN | Primary | Best View | 16.827
SHERBORNE | Primary | Best View | 1.4216
SHIPTON OLIFFE | Primary | Best View | 0.091559
SHIRLEY | Primary | Best View | 14.3707
SHRIVENHAM | Primary | Best View | 6.5608
SHROTON | Primary | Best View | 12.2741
SIDNEY ROAD | Primary | Best View | 8.0893
SILKSTEAD | Primary | Best View | 2.8071
SILVER STREET | Primary | Best View | 8.9067
SOMERFORD | Primary | Best View | 1.7377
SOUTH BERSTEAD | Primary | Best View | 4.5262
SOUTHBOURNE | Primary | Best View | 4.7436
SOUTHCOTE | Primary | Best View | 8.1826
SPARKFORD | Primary | Best View | 1.1977
SPRING QUARRY WEST | Primary | Best View | 13.0977
SPRINGFIELD ROAD | Primary | Best View | 10.6985
ST CROSS | Primary | Best View | 3.6273
ST EBBES | Primary | Best View | 8.1385
ST JOHNS | Primary | Best View | 6.8729
STANDLAKE | Primary | Best View | -1.1933
STANTON FITZWARREN | Primary | Best View | 8.7924
STANWELL | Primary | Best View | 10.8129
STAPLEFORD | Primary | Best View | 4.0225
STOKENCHURCH | Primary | Best View | -1.631
STRATTON | Primary | Best View | 11.9907
SUNBURY CROSS | Primary | Best View | 16.1475
SUNNINGHILL | Primary | Best View | 11.3496
SUTTON BENGER | Primary | Best View | 3.1476
SUTTON LANE | Primary | Best View | 12.5015
SWANAGE | Primary | Best View | -1.022
SWINDON | Primary | Best View | 27.1539
TADLEY | Primary | Best View | 14.4631
TAPLOW | Primary | Best View | 8.6331
TARRANT RUSHTON | Primary | Best View | 1.5713
TEFFONT | Primary | Best View | -1.519
TEMPLE FARM | Primary | Best View | 1.0392
TETBURY | Primary | Best View | 0.90687
THATCHAM | Primary | Best View | 5.4871
THE GREEN | Primary | Best View | 2.6653
THE MALL | Primary | Best View | 10.0291
THEALE | Primary | Best View | 13.8216
THRUXTON | Primary | Best View | -0.23521
TIDWORTH | Primary | Best View | 3.7189
TISBURY | Primary | Best View | 2.9585
TITCHFIELD | Primary | Best View | 4.4463
TONGHAM | Primary | Best View | 13.0719
TOOTHILL | Primary | Best View | 44.124
TOTTON | Primary | Best View | 5.4526
TOWNHILL PARK | Primary | Best View | 9.785
TRADING ESTATE | Primary | Best View | 13.343
TRASH GREEN | Primary | Best View | 4.6022
TROWBRIDGE TOWN | Primary | Best View | 7.7958
TWYFORD | Primary | Best View | 1.1478
UNION STREET | Primary | Best View | 10.8854
UPPER HEYFORD | Primary | Best View | 7.1683
UPTON | Primary | Best View | 0.4153
VELMORE | Primary | Best View | 4.9838
VENTNOR | Primary | Best View | 18.3917
VERWOOD | Primary | Best View | -0.80918
WALLINGFORD | Primary | Best View | 2.7608
WANTAGE | Primary | Best View | 10.5412
WAREHAM TOWN | Primary | Best View | 2.5709
WARFIELD | Primary | Best View | 2.101
WARMINSTER | Primary | Best View | 5.5483
WATERLOOVILLE | Primary | Best View | 23.0566
WATLINGTON | Primary | Best View | 1.6147
WELL END | Primary | Best View | 7.5253
WEST END | Primary | Best View | 14.3048
WEST GRAFTON VILLAGE | Primary | Best View | 1.9904
WEST HENDFORD | Primary | Best View | 27.9341
WEST STOUR | Primary | Best View | 2.1841
WESTBOURNE | Primary | Best View | 13.5793
WESTBURY | Primary | Best View | 10.017
WESTERN ESPLANADE | Primary | Best View | 30.065
WESTON | Primary | Best View | 9.8859
WEYMOUTH | Primary | Best View | 4.3098
WHEATLEY | Primary | Best View | 4.9819
WHITCHURCH | Primary | Best View | 0.14091
WHITELEY | Primary | Best View | 7.3529
WHITELEY WOOD | Primary | Best View | 5.4913
WHITEWAY | Primary | Best View | 18.1973
WILSON ROAD | Primary | Best View | 12.1531
WIMBORNE | Primary | Best View | -1.5269
WIMBORNE ST GILES | Primary | Best View | 0.36168
WINCANTON | Primary | Best View | 5.2634
WINDRUSH PARK | Primary | Best View | 17.2698
WINSMORE LANE | Primary | Best View | 3.909
WINTERBOURNE KINGSTON | Primary | Best View | 0.96407
WINTON | Primary | Best View | -2.1862
WITNEY TOWN | Primary | Best View | 0.55458
WOKINGHAM | Primary | Best View | 18.1712
WOODCOTE | Primary | Best View | 1.3243
WOODMILL LANE | Primary | Best View | 13.5651
WOODSTOCK | Primary | Best View | 5.9486
WOOLSTON | Primary | Best View | 7.1213
WOOTTON BASSETT | Primary | Best View | 9.7691
WOOTTON ROAD | Primary | Best View | -2.0827
WRECCLESHAM | Primary | Best View | 14.4925
WROUGHTON | Primary | Best View | 16.1062
WYCOMBE MARSH | Primary | Best View | 5.9281
WYMERING | Primary | Best View | 25.5274
YARNTON | Primary | Best View | 16.9975
YATTENDON | Primary | Best View | 2.5748
YATTON KEYNALL | Primary | Best View | 0.71177
YEOVIL | Primary | Best View | 8.089
YETMINSTER | Primary | Best View | 3.3559
ZETLAND ROAD | Primary | Best View | 3.8467

## SHEPD Demand headroom
Substation | Supply Level | Scenario | 2022
ABERCHALDER | Primary | Best View | 0.19374
ABERFELDY | Primary | Best View | 3.9645
ABERFOYLE | Primary | Best View | 3.6326
ABERLOUR | Primary | Best View | 2.1522
ABERNETHY | Primary | Best View | 1.2738
ABOYNE | Primary | Best View | 7.7377
ACHILTIBUIE | Primary | Best View | 0.30223
ACHINTEE | Primary | Best View | 0.94511
AIGAS | Primary | Best View | 0.46826
AIRD | Primary | Best View | 4.8443
AIRIGH-NA-BRODAIG | Primary | Best View | 0.32156
ALYTH | Primary | Best View | 3.7858
ANNAT | Primary | Best View | 6.1407
ARDERSIER | Primary | Best View | 4.6823
ARISAIG | Primary | Best View | 2.5434
ARNISH | Primary | Best View | 12
ASHGROVE | Primary | Best View | 14.5028
ASHLUDIE | Primary | Best View | 3.3359
AULTBEA | Primary | Best View | -0.64827
AVIEMORE | Primary | Best View | 5.8917
BALALDIE | Primary | Best View | -2.1721
BALBEGGIE | Primary | Best View | 3.2756
BALDOVIE | Primary | Best View | 13.7348
BALLATER | Primary | Best View | 7.5247
BALLIEKINE | Primary | Best View | 0.48785
BALLINDALLOCH | Primary | Best View | 7.9373
BALLURE | Primary | Best View | 1.7598
BALMEDIE | Primary | Best View | 2.8562
BALNAGASK | Primary | Best View | 9.7675
BANCHORY | Primary | Best View | 3.4421
BARCALDINE | Primary | Best View | -2.3609
BARVAS | Primary | Best View | 0.8966
BATTERY POINT | Primary | Best View | 4.9719
BETTYHILL | Primary | Best View | 0.19625
BILBOHALL | Primary | Best View | 10.1261
BLACKMOUNT | Primary | Best View | 0.034384
BLACKSTAND | Primary | Best View | 4.8711
BLAIRGOWRIE | Primary | Best View | 14.9883
BLAIRLINNANS | Primary | Best View | 0.46053
BOAT OF GARTEN 11 kV | Primary | Best View | 7.0787
BODDAM | Primary | Best View | 1.9351
BONSKEID | Primary | Best View | -2.3503
BOWMORE | Primary | Best View | 1.889
BRAE | Primary | Best View | -2.4932
BRECHIN | Primary | Best View | 4.9909
BRIDGE OF DON | Primary | Best View | 8.7585
BRIDGE OF DUN 11kV | Primary | Best View | -0.1915
BRIDGE OF EARN | Primary | Best View | 10.6916
BRIDGE OF GAUR | Primary | Best View | 0.374
BROADFORD | Primary | Best View | 4.2509
BRODICK | Primary | Best View | 2.748
BRORA | Primary | Best View | 4.7694
BROUGHTY FERRY | Primary | Best View | 6.832
BRUCHAG | Primary | Best View | 10.7745
BUCKIE | Primary | Best View | 8.1956
BUNOICH | Primary | Best View | 1.7786
BURGARHILL | Primary | Best View | 2.8897
BURGHEAD | Primary | Best View | 7.602
BURGHMUIR | Primary | Best View | 2.092
BUTTERBRIDGE | Primary | Best View | 0.10566
CALLANDER | Primary | Best View | 3.0137
CALLANISH | Primary | Best View | 2.6631
CALVINE | Primary | Best View | -0.84301
CAMPBELTOWN | Primary | Best View | 7.1923
CAPUTH | Primary | Best View | 6.7453
CARNOUSTIE | Primary | Best View | 4.732
CASHLIE | Primary | Best View | 0.83265
CHAORACH | Primary | Best View | 0.72232
CHARLES AVENUE | Primary | Best View | 4.4521
CHARLESTON | Primary | Best View | 8.3079
CLACHAN | Primary | Best View | 1.0962
CLAONAIG | Primary | Best View | 0.21317
CLAYHILLS | Primary | Best View | 9.678
COLDBACKIE | Primary | Best View | 0.26269
COLINTRAIVE | Primary | Best View | 0.46524
COLL | Primary | Best View | 2.1894
COMMERCE STREET | Primary | Best View | 9.9753
COMRIE | Primary | Best View | 0.042141
CONNEL | Primary | Best View | -0.74671
CONON BRIDGE | Primary | Best View | 1.7875
CONON FALLS | Primary | Best View | 0.22524
CONSTABLE STREET | Primary | Best View | 7.7528
CONTULLICH | Primary | Best View | 0.094789
CORRAN | Primary | Best View | -0.36326
COSHIEVILLE | Primary | Best View | 1.8606
COUPAR ANGUS | Primary | Best View | 1.5703
CRAIGIEBUCKLER | Primary | Best View | 16.8234
CRAIGINCHES | Primary | Best View | 16.9939
CRAIGTON | Primary | Best View | 8.3581
CRIEFF | Primary | Best View | 5.7
CRINAN | Primary | Best View | 0.19615
CROMALT | Primary | Best View | 1.1935
CROSSHILLS | Primary | Best View | 7.2762
CULLEN | Primary | Best View | 6.2852
CULLODEN | Primary | Best View | 9.0166
CULTER | Primary | Best View | 17.0707
CUMMING STREET | Primary | Best View | 10.4928
DALCHONZIE | Primary | Best View | 5.9357
DALCROSS | Primary | Best View | 9.6063
DALMALLY | Primary | Best View | 0.78843
DALNEIGH | Primary | Best View | 4.8766
DALRULZION | Primary | Best View | 1.4044
DALWHINNIE | Primary | Best View | 0.27911
DENBURN | Primary | Best View | 7.2976
DERVAIG | Primary | Best View | 1.3305
DINGWALL | Primary | Best View | 5.981
DIPPEN | Primary | Best View | 0.34557
DORNOCH | Primary | Best View | 1.4862
DOUGLAS PIER | Primary | Best View | 1.9635
DRIMORE | Primary | Best View | 2.2199
DRUMNADROCHIT | Primary | Best View | 2.4925
DRUMRUNIE | Primary | Best View | 0.79828
DRYMEN | Primary | Best View | -2.827
DRYNOCH | Primary | Best View | 2.0103
DUFFTOWN | Primary | Best View | 1.3589
DUNBLANE | Primary | Best View | 2.281
DUNOON | Primary | Best View | 16.2114
DUNVEGAN GRID | Primary | Best View | 3.3
DYCE NORTH | Primary | Best View | 8.97
EDAY | Primary | Best View | 0.82083
EDZELL | Primary | Best View | 5.362
EDZELL STREET | Primary | Best View | 10.2222
ELGIN | Primary | Best View | 8.3966
ELLIOT DEPOT | Primary | Best View | -6.5978
ELLON 11 kV | Primary | Best View | 0.38213
EREDINE | Primary | Best View | 0.14489
ERROGIE | Primary | Best View | 0.8818
ERROL | Primary | Best View | 4.2978
FINCASTLE | Primary | Best View | 0.061132
FIRTH | Primary | Best View | 1
FLOTTA | Primary | Best View | 0.88219
FOCHABERS | Primary | Best View | 7.7294
FORRES | Primary | Best View | 4.1525
FORSS | Primary | Best View | -0.025756
FORTEVIOT | Primary | Best View | 5.4992
FOYERS | Primary | Best View | 0.63887
FRASERBURGH | Primary | Best View | 20.3608
FRIOCKHEIM | Primary | Best View | 2.4996
FYVIE | Primary | Best View | 4.994
GARBAT FOREST | Primary | Best View | 0.11439
GISLA | Primary | Best View | -0.64598
GLASTULLICH | Primary | Best View | 3.1343
GLEDFIELD | Primary | Best View | 1.7689
GLEN LAOGH | Primary | Best View | 0.11195
GLENCOE | Primary | Best View | 1.1114
GLENDARUEL | Primary | Best View | 0.56982
GLENDEVON | Primary | Best View | 6.1044
GLENDOE PRIMARY | Primary | Best View | 1.1418
GLENEAGLES | Primary | Best View | 0.58127
GLENETIVE | Primary | Best View | 0.30443
GLENUIG | Primary | Best View | 0.053849
GOLSPIE | Primary | Best View | 2.7731
GOODLYBURN | Primary | Best View | 2.7238
GOURDIE | Primary | Best View | 5.1052
GRANTOWN | Primary | Best View | 8.0118
GREYFRIARS | Primary | Best View | 15.3601
GRUDIE BRIDGE | Primary | Best View | 23.28
GUTCHER | Primary | Best View | 0.28501
HALKIRK | Primary | Best View | 0.61513
HARBOUR | Primary | Best View | 10.4091
HARRIS GRID | Primary | Best View | 35.1042
HASTIGROW | Primary | Best View | 2.9916
HATTON | Primary | Best View | 5.3537
HAUDAGAIN | Primary | Best View | 23.8
HAYTON | Primary | Best View | 16.0534
HELMSDALE | Primary | Best View | 3.7176
HILTON | Primary | Best View | 11.0327
HUME STREET | Primary | Best View | 13.859
HUNTLY | Primary | Best View | 8.2071
INCHBARE | Primary | Best View | 2.0352
INNELLAN | Primary | Best View | 2.0234
INSCH | Primary | Best View | 6.6552
INVERALMOND | Primary | Best View | 15.9009
INVERARAY | Primary | Best View | 2.2023
INVERARITY | Primary | Best View | 0.19377
INVERARNIE | Primary | Best View | 1.7471
INVERBERVIE | Primary | Best View | 3.7691
INVERBROOM | Primary | Best View | 0.22577
INVERGARRY | Primary | Best View | 0.63775
INVERGORDON | Primary | Best View | 8.8139
INVERLOCHY | Primary | Best View | 5.6871
INVERNEIL | Primary | Best View | 6.8509
INVERNESS 11 kV | Primary | Best View | 5.8717
INVERURIE | Primary | Best View | 15.9074
KAMES | Primary | Best View | 2.6249
KEITH | Primary | Best View | 6.1321
KEMNAY | Primary | Best View | 10.3013
KENMORE | Primary | Best View | 0.38348
KEPCULLOCH | Primary | Best View | 4.9878
KERRERA | Primary | Best View | 0.27706
KERRY FALLS | Primary | Best View | 5.449
KILCHRENAN | Primary | Best View | 0.35821
KILLEARN | Primary | Best View | -1.0545
KILLIN TOWN | Primary | Best View | 1.8777
KILMELFORD PS | Primary | Best View | -1.2315
KILNINVER | Primary | Best View | -0.94966
KILTARLITY | Primary | Best View | 5.4501
KINCORTH | Primary | Best View | 5.4318
KINGAIRLOCH | Primary | Best View | 0.053188
KINGSEAT | Primary | Best View | 3.0239
KINGUSSIE | Primary | Best View | 1.8907
KINLOCH | Primary | Best View | -0.38865
KINLOCH RANNOCH | Primary | Best View | -0.027702
KINLOCHEWE | Primary | Best View | 0.43312
KINLOCHLEVEN | Primary | Best View | 2.3176
KINLOCHMOIDART | Primary | Best View | 0.94425
KINLOSS | Primary | Best View | 11.6499
KIPPEN | Primary | Best View | 3.2747
KIRKWALL | Primary | Best View | 18.2767
KISHORNHILL | Primary | Best View | 0.16418
KYLE | Primary | Best View | 4.4392
LAIRG GRID | Primary | Best View | -0.24751
LATHERON | Primary | Best View | 0.9478
LAURENCEKIRK | Primary | Best View | 1.3047
LAXAY | Primary | Best View | -0.92801
LEOCH | Primary | Best View | -2.4375
LETHEN | Primary | Best View | 0.20746
LETTEREWE | Primary | Best View | 0.11124
LHANBRYDE | Primary | Best View | 5.3005
LIDDESDALE | Primary | Best View | 0.096403
LIMEHILLOCKS | Primary | Best View | 1.1544
LOCH CARNAN | Primary | Best View | 21.9408
LOCH GLASCARNOCH | Primary | Best View | 0.58819
LOCHALINE | Primary | Best View | 0.27462
LOCHDONHEAD | Primary | Best View | 0.13168
LOCHEARNHEAD | Primary | Best View | -0.28878
LOCHEE | Primary | Best View | 17.2476
LOCHGILPHEAD | Primary | Best View | 16.8755
LOCHGOILHEAD | Primary | Best View | -1.4262
LOCHINVER | Primary | Best View | -0.5201
LOCHSIDE | Primary | Best View | 7.7466
LOGIE PERT | Primary | Best View | 4.3887
LONGHAUGH | Primary | Best View | 12.8128
LOSSIEMOUTH | Primary | Best View | 7.8128
LOWER OLLACH | Primary | Best View | 0.075544
LUBNAIG | Primary | Best View | 0.21927
LUNANHEAD | Primary | Best View | 6.7728
LUSSAGIVEN | Primary | Best View | 0.093842
LYNDHURST | Primary | Best View | 9.2464
LYNESS | Primary | Best View | 0.58325
MAARUIG | Primary | Best View | 0.17349
MACALPINE ROAD | Primary | Best View | 13.8003
MACDUFF | Primary | Best View | 13.6992
MACHRIE | Primary | Best View | 1.431
MALLAIG | Primary | Best View | 7.6989
MARNOCH | Primary | Best View | 3.9342
MARYBANK | Primary | Best View | 3.1089
MARYTON | Primary | Best View | 7.3171
MAUD | Primary | Best View | 4.8384
MELVICH | Primary | Best View | 0.25716
MENZIESHILL | Primary | Best View | 8.9825
METHLICK | Primary | Best View | 4.7235
MID YELL | Primary | Best View | -0.011373
MIDMAR | Primary | Best View | 0.61016
MILL RD MONTROSE | Primary | Best View | 5.8317
MILNATHORT | Primary | Best View | 1.0229
MILTON OF CRAIGIE | Primary | Best View | 4.239
MINTLAW | Primary | Best View | 8.6
MONTROSE NORTH | Primary | Best View | 2.1148
MOSSAT | Primary | Best View | 1.1098
MOUNT PLEASANT | Primary | Best View | 10.8061
MUIR OF ORD | Primary | Best View | 8.8115
MUIREND | Primary | Best View | 4.1976
NAIRN CENTRAL | Primary | Best View | 4.4576
NEW PITSLIGO | Primary | Best View | 6.8554
NEWTON | Primary | Best View | 0.22303
NEWTONHILL | Primary | Best View | 3.3548
NINEWELLS | Primary | Best View | 15.3479
NORTH HOY | Primary | Best View | 0.18216
NORTHFIELD | Primary | Best View | 14.55
NOSTIE BRIDGE | Primary | Best View | -1.2371
OBAN | Primary | Best View | 8.6223
OLD CRAIGIE ROAD | Primary | Best View | 7.5842
OLDMELDRUM | Primary | Best View | 2.1912
ORMLIE | Primary | Best View | 10.1207
OTTER FERRY | Primary | Best View | -0.17011
OVERGATE | Primary | Best View | 26.5554
OVERSCAIG | Primary | Best View | 0.15748
PARK | Primary | Best View | -1.6272
PEDDIESTON | Primary | Best View | 1.2358
PETERHEAD GRANGE 11kV | Primary | Best View | 10.4162
PHEAD NORTH ST | Primary | Best View | 9.6132
PINEGROVE | Primary | Best View | 5.5471
PITLOCHRY | Primary | Best View | 2.9361
POLLACHAR | Primary | Best View | 2.5425
POOR HOUSE | Primary | Best View | 0.10241
PORT ASKAIG | Primary | Best View | 1.7127
PORT ELLEN | Primary | Best View | 1.7826
PORTREE | Primary | Best View | 2.8616
PORTSOY | Primary | Best View | 3.1387
QUEENS LANE NORTH | Primary | Best View | 2.0261
QUOICH PRIMARY | Primary | Best View | 0.89131
RAHOY | Primary | Best View | 0.97535
RAIGMORE | Primary | Best View | 5.2398
REDFORD | Primary | Best View | -1.8229
REDGORTON | Primary | Best View | 9.7079
REDMOSS | Primary | Best View | 20.2966
RHICONICH | Primary | Best View | -0.6727
ROSEBANK STREET | Primary | Best View | 10.7453
ROTHES | Primary | Best View | 1.9611
ROTHESAY | Primary | Best View | 18.6944
ROUSAY | Primary | Best View | 0.54959
RUTHRIESTON | Primary | Best View | 14.6
SALEN | Primary | Best View | 1.2715
SALEN 2 | Primary | Best View | -1.8013
SANDAY | Primary | Best View | 0.37359
SANDBANK | Primary | Best View | 4.4416
SANDWICK | Primary | Best View | 4.72
SCALLOWAY | Primary | Best View | -3.3076
SCAMMADALE | Primary | Best View | 0.047387
SCONE | Primary | Best View | 9.9575
SHAPINSAY | Primary | Best View | 0.70071
SHIELDAIG | Primary | Best View | 0.29392
SHIN | Primary | Best View | 2.8894
SHONA BEAG | Primary | Best View | 0.095757
SKENE | Primary | Best View | 15.9223
SKULAMUS | Primary | Best View | -1.6543
SPRINGHILL | Primary | Best View | 4.4823
ST CYRUS | Primary | Best View | 6.3056
ST FERGUS GAS TERM | Primary | Best View | 32.2655
ST FILLANS P S | Primary | Best View | 8.85
ST MACHAR | Primary | Best View | 15.0334
ST MARYS | Primary | Best View | -1.5479
ST NICHOLAS | Primary | Best View | 16.9715
STOCKINISH | Primary | Best View | -0.020589
STONEFIELD | Primary | Best View | 0.33642
STONEHAVEN | Primary | Best View | 11.4557
STONEYHILL | Primary | Best View | -2.8657
STONEYWOOD T1&T2 | Primary | Best View | 11.4461
STONEYWOOD T3 | Primary | Best View | 7.4309
STRACHUR | Primary | Best View | 0.14032
STRATHDON | Primary | Best View | 0.087463
STRICHEN | Primary | Best View | 10.1808
STROMNESS | Primary | Best View | 7.4807
STRONSAY | Primary | Best View | 0.67948
STRONTIAN | Primary | Best View | 0.074641
SUMBURGH | Primary | Best View | -0.90026
TAIN | Primary | Best View | 8.1351
TARBERT | Primary | Best View | 2.5253
TARBERT JURA | Primary | Best View | 0.15836
TARBERT LOCH FYNE | Primary | Best View | 2.5648
TAYNUILT | Primary | Best View | 1.4832
THIMBLEROW | Primary | Best View | 11.8159
TIRORAN BRIDGE | Primary | Best View | 0.12982
TOMATIN | Primary | Best View | 0.11791
TORBOLL | Primary | Best View | 0.11129
TORRYBURN | Primary | Best View | 14.007
TRESSADY | Primary | Best View | 0.64288
TUMBLIN | Primary | Best View | 5.4608
TUMMEL BRIDGE | Primary | Best View | 0.27017
TURRIFF | Primary | Best View | 3.9318
TYNDRUM | Primary | Best View | 2.4092
UIG | Primary | Best View | 1.5413
ULLAPOOL | Primary | Best View | -1.3393
UNST | Primary | Best View | -0.69937
VOE | Primary | Best View | 6.6726
WALTON | Primary | Best View | 18.1555
WATERLOO PLACE | Primary | Best View | 8.5067
WEST KIRKTON | Primary | Best View | 14.5169
WESTER DRUMMOND | Primary | Best View | 0.088275
WESTRAY | Primary | Best View | 0.31685
WHITEHOUSE | Primary | Best View | 3.1507
WHITESTRIPES | Primary | Best View | 7.2301
WHITING BAY | Primary | Best View | 7.1481
WICK | Primary | Best View | 6.5382
WOODHILL | Primary | Best View | 10.9645

## SPD Demand headroom
Substation | Supply Level | Scenario | 2022
ABBEYLANDS ROAD | Primary | Best View | 7.0733
ABRONHILL | Primary | Best View | 19.987
ADMIRAL ST | Primary | Best View | 5.3994
AIRDRIE | Primary | Best View | 10.6469
ALLANBANK ALLANTON | Primary | Best View | 16.4016
ALMONDVALE CENTRE | Primary | Best View | 9.2669
ANNAN | Primary | Best View | 10.5204
ANSTRUTHER | Primary | Best View | 2.8466
ARCHERHILL RD | Primary | Best View | 5.321
ARDGOUR DR | Primary | Best View | 6.4828
ARMADALE | Primary | Best View | 3.8484
ASHGROVE ST | Primary | Best View | 6.3737
AUCHNEEL | Primary | Best View | 3.0961
AUCHTERMUCHTY | Primary | Best View | 5.2035
AURS ROAD | Primary | Best View | 12.4205
AVENUE END RD | Primary | Best View | 16.341
AYTON | Primary | Best View | 0.091707
BAILLIESTON | Primary | Best View | 4.8519
BAKER STREET | Primary | Best View | 10.8389
BALGREEN | Primary | Best View | 13.3904
BALLOCH | Primary | Best View | 10.2195
BALMORE B/VILLAGE | Primary | Best View | 13.2929
BARNTON GROVE | Primary | Best View | 15.4624
BARNTON QUARRY | Primary | Best View | 13.8196
BARRHEAD | Primary | Best View | 13.9728
BARRHILL | Primary | Best View | 8.4684
BARTERHOLM | Primary | Best View | 9.7611
BELHAVEN FORTH | Primary | Best View | 5.1475
BELHAVEN WEST | Primary | Best View | 9.6823
BELLSHILL | Primary | Best View | 9.7332
BERRYHILL ROAD | Primary | Best View | 10.096
BIGGAR | Primary | Best View | 4.8856
BIRRELL STREET WYND | Primary | Best View | 7.1511
BISHOP | Primary | Best View | 11.6567
BISHOPBRIGGS | Primary | Best View | 7.186
BLACKBURN | Primary | Best View | 3.5547
BLACKHALL PACKAGE | Primary | Best View | 12.8403
BONESS KINNEIL | Primary | Best View | 4.798
BONNINGTON ROAD | Primary | Best View | 10.0567
BOUNDARY STREET | Primary | Best View | 14.7672
BOWHILL | Primary | Best View | 1.0947
BRAIDWOOD | Primary | Best View | 11.0296
BROXBURN | Primary | Best View | 14.1558
BURGHLEE | Primary | Best View | 6.0562
BURNBANK | Primary | Best View | 8.9819
BURNFIELD | Primary | Best View | 11.5402
BURNSIDE | Primary | Best View | 17.7333
BURNTISLAND | Primary | Best View | 15.5389
BUSH ESTATE | Primary | Best View | 14.5962
BYREHILL | Primary | Best View | 15.4364
BYRES ROAD | Primary | Best View | 7.6311
CADDLEHILL | Primary | Best View | 10.7444
CALAIS | Primary | Best View | 4.8311
CALLENDAR | Primary | Best View | 8.3439
CALTON ROAD | Primary | Best View | 14.8156
CAMBUSLANG | Primary | Best View | 17.3821
CAMELON | Primary | Best View | 14.9545
CAMERON | Primary | Best View | 7.4691
CARDONALD | Primary | Best View | 17.1637
CARFIN | Primary | Best View | 9.2646
CARGENBRIDGE | Primary | Best View | 12.7516
CARMUNNOCK ROAD | Primary | Best View | 13.7522
CARRON IRON | Primary | Best View | 14.3514
CARRUTHERSTOWN | Primary | Best View | 7.3448
CASTLANDHILL | Primary | Best View | 1.7103
CASTLE | Primary | Best View | 2.5841
CASTLE DOUGLAS | Primary | Best View | 3.8856
CASTLEMILK | Primary | Best View | 14.4945
CHAPEL | Primary | Best View | 2.1597
CHAPELHALL | Primary | Best View | 19.9917
CHARLES STREET | Primary | Best View | 16.9833
CHIRNSIDE | Primary | Best View | 9.1363
CLARK WAY | Primary | Best View | 17.3262
CLARKSTON | Primary | Best View | 8.4649
CLUNY ROAD | Primary | Best View | 6.1738
CLYDEBANK BUSINESS PARK | Primary | Best View | 11.2507
COATS STREET | Primary | Best View | 7.225
CODDINGTON CRES | Primary | Best View | 16.3387
COLDSTREAM | Primary | Best View | 1.0619
COLINSBURGH | Primary | Best View | 2.0678
COLINTON NORTH | Primary | Best View | 12.8286
COLLEGE MILTON | Primary | Best View | 8.9659
COLLYDEAN | Primary | Best View | 16.2264
COLQUHOUN STREET | Primary | Best View | 6.6587
COMMERCIAL RD | Primary | Best View | 0.97048
COMMON FARM | Primary | Best View | 13.6409
CONDORRAT | Primary | Best View | 9.1651
CONSETT STREET | Primary | Best View | 4.9847
CORRA LINN | Primary | Best View | 12.075
COUSLAND | Primary | Best View | 10.0606
COWDENBEATH | Primary | Best View | 12.7115
COWGATE | Primary | Best View | 4.8197
CRAIGDHU ROAD | Primary | Best View | 14.4884
CRAIGENDORAN | Primary | Best View | 13.1624
CRAIGNEUK EXCEL | Primary | Best View | 12.8923
CREETOWN | Primary | Best View | 8.613
CRONBERRY | Primary | Best View | 7.9192
CROOKSTON | Primary | Best View | 8.1828
CUMNOCK | Primary | Best View | 13.5539
CUPAR | Primary | Best View | 3.3422
DALBEATTIE | Primary | Best View | 10.4924
DALGETY | Primary | Best View | 16.3504
DALRYMPLE DRIVE | Primary | Best View | 9.062
DARVEL | Primary | Best View | 7.5596
DAVID STREET | Primary | Best View | 10.4439
DEANS | Primary | Best View | 10.2599
DEANS CLOSE | Primary | Best View | 3.559
DEDRIDGE LIVINGSTON | Primary | Best View | 14.3509
DENHOLM | Primary | Best View | 5.728
DENMARK STREET | Primary | Best View | 12.2449
DEWAR PLACE | Primary | Best View | 9.7372
DOLLAR | Primary | Best View | 3.4747
DOUGLAS WEST | Primary | Best View | 15.7957
DRUMBRAE | Primary | Best View
DRUMCHAPEL ROAD | Primary | Best View | 12.8832
DRUMLEY | Primary | Best View | 4.4228
DUMBARTON | Primary | Best View | 14.5905
DUMFRIES | Primary | Best View | 7.0722
DUNDAS STREET | Primary | Best View | 9.804
DUNDYVAN | Primary | Best View | 7.8421
DUNS | Primary | Best View | 3.7509
DUNSCORE | Primary | Best View | 8.3257
DURIE HOUSE | Primary | Best View | 12.868
EARLS ROAD | Primary | Best View | 11.4105
EARLSTON | Primary | Best View | 2.1715
EAST LINTON | Primary | Best View | 1.7372
EAST MAINS BROXBURN | Primary | Best View | 16.6439
EAST TRINITY ROAD | Primary | Best View | 15.6232
EASTER ROAD | Primary | Best View | 12.404
EASTERCRAIGS | Primary | Best View | 8.4294
ECKFORD STREET | Primary | Best View | 8.7487
ELIZABETH STREET | Primary | Best View | 2.5088
ELLIOT STREET | Primary | Best View | 10.1789
ERSKINE | Primary | Best View | 19.775
EYEMOUTH | Primary | Best View | 5.7738
FAIRLIE | Primary | Best View | 11.8322
FALKIRK | Primary | Best View | 7.446
FAULDHEAD | Primary | Best View | 5.0765
FINNOCK BOG | Primary | Best View | 4.3262
FIRHILL ROAD | Primary | Best View | 11.4221
FLEMINGTON STREET | Primary | Best View | 11.5211
FORGAN | Primary | Best View | 4.4365
FORTH | Primary | Best View | 13.9791
FORTH STREET | Primary | Best View | 12.8
FOXBAR | Primary | Best View | 15.3507
FRANKFIELD | Primary | Best View | 12.3974
FROGSTON ROAD EAST | Primary | Best View | 15.0307
GARELOCHHEAD | Primary | Best View | 7.4845
GARTARRY | Primary | Best View | 3.5074
GARTSHERRIE | Primary | Best View | 11.127
GATEHOUSE | Primary | Best View | 5.4402
GAUZE ROAD | Primary | Best View | 14.9806
GEORGE SQUARE LANE | Primary | Best View | 4.5037
GIRTHILL | Primary | Best View | 1.7406
GIRVAN | Primary | Best View | 8.8691
GLASGOW AIRPORT | Primary | Best View | 9.9492
GLENBURN | Primary | Best View | 2.7828
GLENDINNING TERRACE | Primary | Best View | 1.39
GLENGALL | Primary | Best View | 6.8442
GLENLUCE | Primary | Best View | 5.3808
GLENWOOD | Primary | Best View | 10.4791
GORDON | Primary | Best View | 3.0453
GORGIE | Primary | Best View | 9.8654
GRANT STREET | Primary | Best View | 9.141
GRANTON PARK AVENUE | Primary | Best View | 17.8559
GRASSYARDS | Primary | Best View | 9.331
GREENFAULDS | Primary | Best View | 10.0226
GREENLAW | Primary | Best View | 3.7627
GRETNA | Primary | Best View | 16.6791
GYLEMUIR | Primary | Best View | 7.4994
HAGGS ROAD | Primary | Best View | 10.0259
HAMILTON | Primary | Best View | 0.70897
HEATHFIELD RD AYR | Primary | Best View | 9.749
HEATHHALL | Primary | Best View | 10.2036
HECLA AVENUE | Primary | Best View | 14.4595
HELEN STREET | Primary | Best View | 13.6114
HENDERSON ROW | Primary | Best View | 14.7927
HIGH BLANTYRE | Primary | Best View | 6.9364
HIGH MAINS MILTON | Primary | Best View | 3.2208
HORNCLIFFE | Primary | Best View | 1.1758
HUNTER | Primary | Best View | 14.9337
HUNTER STREET | Primary | Best View | 8.7723
HUNTERSTON | Primary | Best View | 17.2507
INVERKIP ROAD | Primary | Best View | 15.2055
IRVINE | Primary | Best View | 0.14249
JACKTON | Primary | Best View | 16.8388
JOHNSTONE | Primary | Best View | 10.558
KELLIEBANK | Primary | Best View | 10.1988
KELTY | Primary | Best View | 1.8455
KELVIN | Primary | Best View | 13.2777
KELVINSIDE | Primary | Best View | 4.1003
KENNISHEAD AVENUE | Primary | Best View | 13.4314
KILBIRNIE | Primary | Best View | 7.8451
KILDRUM | Primary | Best View | 11.2332
KILLOCH COLLIERY | Primary | Best View | 7.2725
KILMACOLM | Primary | Best View | 5.4361
KILMARDINNY | Primary | Best View | 7.5288
KILMARNOCK | Primary | Best View | 9.6787
KILSYTH | Primary | Best View | 10.6829
KINGS BUILDINGS | Primary | Best View | 10.256
KINGS INCH ROAD | Primary | Best View | 29.1324
KINGSKNOWE ROAD NORTH | Primary | Best View | 9.2653
KINGSLAND | Primary | Best View | 1.3455
KIRKBANK | Primary | Best View | 5.7831
KIRKINTILLOCH | Primary | Best View | 6.6697
KIRKNEWTON | Primary | Best View | 1.7947
KIRKTON | Primary | Best View | 13.2963
LADY VICTORIA | Primary | Best View | 2.6039
LANARK | Primary | Best View | 15.0401
LANGHOLM | Primary | Best View | 17.7737
LANGLANDS STREET | Primary | Best View | 11.1334
LANGSIDE | Primary | Best View | 4.1954
LARBERT | Primary | Best View | -0.21577
LARGS | Primary | Best View | 14.5204
LARKFIELD | Primary | Best View | 11.6611
LARKHALL | Primary | Best View | 12.792
LARKHALL TOWN | Primary | Best View | 15.5648
LAUDER | Primary | Best View | 4.1486
LEONARDS CHAPEL | Primary | Best View | 15.0633
LESLIE STREET | Primary | Best View | 11.6788
LESMAHAGOW | Primary | Best View | 13.9323
LETHANHILL | Primary | Best View | 12.5564
LEUCHARS | Primary | Best View | 4.5025
LEVEN | Primary | Best View | 12.085
LEVEN STREET | Primary | Best View | 14.3467
LEVENBANK | Primary | Best View | -0.23208
LINLITHGOW | Primary | Best View | 12.215
LINTHAUGH ROAD | Primary | Best View | 14.4929
LINTHOUSE | Primary | Best View | 8.6745
LINTON LANE | Primary | Best View | 4.03
LITTLE FRANCE | Primary | Best View | 13.0053
LOANING | Primary | Best View | 11.2891
LOANSTONE | Primary | Best View | 5.5112
LOCHEND QUADRANT | Primary | Best View | 1.284
LOCHSIDE | Primary | Best View | 6.6403
LOCHWINNOCH | Primary | Best View | 4.8266
LOCKERBIE | Primary | Best View | 5.1099
LONGANNET | Primary | Best View | 5.8694
LOWER LONDON ROAD | Primary | Best View | 2.8027
LUGTON | Primary | Best View | 6.6625
MANUEL | Primary | Best View | 12.6045
MARKETHILL | Primary | Best View | 11.6043
MARTIN MILLER | Primary | Best View | 11.1888
MAUCHLINE | Primary | Best View | 3.6649
MAUKINFAULD ROAD | Primary | Best View | 18.6288
MAXWELL STREET | Primary | Best View | 10.8094
MAXWELLTOWN | Primary | Best View | 11.0639
MAYBOLE | Primary | Best View | 2.3652
MEADOW ROAD | Primary | Best View | 14.7628
MENSTRIE | Primary | Best View | 7.8474
METHILHILL | Primary | Best View | 4.3557
MIDDLEBIE | Primary | Best View | -0.30455
MILL STREET | Primary | Best View | 3.107
MILLIKEN | Primary | Best View | 12.7755
MILTON | Primary | Best View | 11.7924
MITCHELL STREET | Primary | Best View | 1.7149
MOFFAT | Primary | Best View | 3.1101
MONKTON | Primary | Best View | 5.4469
MONKTONHALL | Primary | Best View | 2.1854
MOREBATTLE | Primary | Best View | 3.5936
MORTONHALL | Primary | Best View | 14.8555
MUCKRAW | Primary | Best View | 6.5116
MUIRHOUSE | Primary | Best View | 4.9038
MUIRHOUSE BANK | Primary | Best View | 13.3698
MYOTHILL | Primary | Best View | 10.5543
MYRTLE ROAD | Primary | Best View | 11.788
NEILSLAND | Primary | Best View | 7.2578
NETHERDALE | Primary | Best View | 9.1844
NETHERTOWN | Primary | Best View | 12.1651
NEW CUMNOCK | Primary | Best View | 7.1548
NEWBRIDGE | Primary | Best View | 12.0226
NEWBURGH | Primary | Best View | 2.4293
NEWCASTLETON | Primary | Best View | 3.4601
NEWHOUSE | Primary | Best View | 3.9759
NEWLANDS | Primary | Best View | 12.5158
NEWMILNS | Primary | Best View | 17.0899
NEWTON STEWART | Primary | Best View | 16.1627
NEWTON STREET | Primary | Best View | 26.4512
NIDDRIE | Primary | Best View | 9.8007
NORHAM | Primary | Best View | 0.94836
NORTH BERWICK | Primary | Best View | 6.3315
NORTH ROAD | Primary | Best View | 3.0573
OAKFIELD | Primary | Best View | 14.9473
OCEAN DRIVE | Primary | Best View | 16.3421
OLD BRIDGE ROAD | Primary | Best View | 13.0795
OLD DUMBARTON ROAD | Primary | Best View | 5.8443
OLD INNS | Primary | Best View | 10.2941
OVERTOWN | Primary | Best View | 12.4345
OXGANGS ROAD | Primary | Best View | 9.3538
PARK ROAD | Primary | Best View | 11.7442
PAULVILLE | Primary | Best View | 10.9528
PENCAITLAND | Primary | Best View | 10.2072
PENICUIK | Primary | Best View | 3.2941
PENNYWELL ROAD | Primary | Best View | 11.8506
PENPONT | Primary | Best View | 4.4114
PEPPERCRAIG | Primary | Best View | 11.143
PETERSHILL ROAD | Primary | Best View | 8.8988
PILTON DRIVE WEST | Primary | Best View | 14.8512
PINWHERRY | Primary | Best View | 5.1182
PITREAVIE | Primary | Best View | 12.0743
PITTEUCHAR | Primary | Best View | 13.3663
POLKEMMET | Primary | Best View | 9.2398
POLMONT | Primary | Best View | 11.1168
POLTONHALL | Primary | Best View | 3.0566
PORT GLASGOW | Primary | Best View | 13.1793
PORTOBELLO | Primary | Best View | 14.758
PRESTONPANS | Primary | Best View | 12.6591
PYRAMID | Primary | Best View | 15.8392
QUEENS DRIVE | Primary | Best View | 14.8044
QUEENSWAY | Primary | Best View | 10.847
RADNOR PARK | Primary | Best View | 12.6239
RAITH | Primary | Best View | 15.1844
RALSTON | Primary | Best View | 5.5195
RANDOLPH LANE | Primary | Best View | 13.9313
RANDOLPH ROAD | Primary | Best View | 9.26
RANNOCH ROAD | Primary | Best View
RAVENSPARK | Primary | Best View | 12.2244
REDHOUSE | Primary | Best View | 10.7334
RENFREW FERRY | Primary | Best View | 18.6237
RIVERSIDE | Primary | Best View | 35.5311
ROSEBURN | Primary | Best View | 12.6724
ROTTENROW | Primary | Best View | 6.7037
ROTTENROW B | Primary | Best View | 14.471
S&N VIEWFORTH | Primary | Best View | 14.9389
SALTCOATS MAIN | Primary | Best View | 17.6554
SAUCHIE | Primary | Best View | 15.0334
SAUGHTON ROAD NORTH | Primary | Best View | 18.9171
SELKIRK | Primary | Best View | 3.8671
SHAWPARK STREET | Primary | Best View | 8.0693
SHERWOOD | Primary | Best View | 15.0006
SHOTTS | Primary | Best View | 12.4438
SIGHTHILL FARM | Primary | Best View | 4.3384
SORBIE | Primary | Best View | 4.3332
SOUTH GYLE | Primary | Best View | 11.8129
SOUTH QUEENSFERRY | Primary | Best View | 12.6884
SOUTHFIELD | Primary | Best View | 13.3703
SPOTT ROAD | Primary | Best View | 5.3399
ST ANDREWS | Primary | Best View | 2.7694
ST ANDREWS CROSS | Primary | Best View | 14.2029
ST BOSWELLS | Primary | Best View | 2.1983
ST JAMES CENTRE | Primary | Best View | 13.7748
ST NINIANS CORNHILL | Primary | Best View | 2.48
ST VINCENT CRESCENT | Primary | Best View | 11.7284
STEPFORD | Primary | Best View | 14.1367
STEVENSTON | Primary | Best View | 6.5458
STEWARTON | Primary | Best View | 8.116
STIRLING | Primary | Best View | 15.2697
STIRLING UNIVERSITY | Primary | Best View | 10.6113
STONEHOUSE | Primary | Best View | -0.044812
STRANRAER | Primary | Best View | 0.61863
STRATHAVEN | Primary | Best View | 11.685
STRATHLEVEN | Primary | Best View | 11.3892
SYMINGTON | Primary | Best View | 3.4749
TELFORD ROAD | Primary | Best View | 15.5926
THISTLE COURT | Primary | Best View | 6.852
TONGLAND DISTRIBUTION | Primary | Best View | 7.9942
TORNESS | Primary | Best View | 1.8253
TOWERS ROAD | Primary | Best View | 6.7311
TOWNHILL | Primary | Best View | 6.9892
TRANENT | Primary | Best View | 1.9086
TROON | Primary | Best View | 1.127
UDDINGSTON | Primary | Best View | 8.206
UNDERWOOD | Primary | Best View | 3.33
VIRGINIA STREET | Primary | Best View | 6.1443
WADDELL STREET | Primary | Best View | 9.6302
WAROUT ROAD | Primary | Best View | 0.26182
WATLING STREET | Primary | Best View | 9.648
WEST CALDER | Primary | Best View | 2.1462
WEST GEORGE STREET | Primary | Best View | 8.4601
WEST LINTON | Primary | Best View | 5.2202
WESTBURN ROAD | Primary | Best View | 22.7099
WESTERTON | Primary | Best View | 7.3388
WESTFIELD AVE | Primary | Best View | 8.7293
WESTWOOD | Primary | Best View | 15.4293
WHITCHESTER | Primary | Best View | 3.8057
WHITLAWBURN | Primary | Best View | 17.849
WHOLEFLATS | Primary | Best View | 10.8574
WILLIAM STREET | Primary | Best View | 16.278
WOODEND | Primary | Best View | 2.0684
WOODISLE | Primary | Best View | 11.9557
WOODSIDE | Primary | Best View | 14.1191
YAIR BRIDGE | Primary | Best View | 5.0422
YETHOLM | Primary | Best View | 4.1265
YOKER FERRY ROAD | Primary | Best View | 8.5907
ZETLAND PARK | Primary | Best View | 17.4742

## NPgN Calculation
spare capacity |  |  | 10 | 179 |  | currently overloaded | 0 | sites | 0% | Checks
capacity range |  |  | 2022 |  |  | overloaded capacity | 0 |  |  | 11 | Best View
-60 | -50 | -60 to -50 | 0 | 0 | 0% | spare capacity | 586.3797 |  |  |  | #REF!
-50 | -40 | -50 to -40 | 0 | 0 | 0% |  |  |  |  | currently overloaded | 0
-40 | -30 | -40 to -30 | 0 | 0 | 0% |  |  |  |  | overloaded SITES % | 0%
-30 | -20 | -30 to -20 | 0 | 0 | 0% |  |  |  |  | CAPACITY | 0
-20 | -10 | -20 to -10 | 0 | 0 | 0%
-10 | 0 | -10 to 0 | 0 | 0 | 0%
0 | 10 | 0 to 10 | 79 | 533.6935 | 44.13%
10 | 20 | 10 to 20 | 77 | 1081.3779 | 43.02%
20 | 30 | 20 to 30 | 18 | 420.1171 | 10.06%
30 | 40 | 30 to 40 | 5 | 166.2626 | 2.793%
40 | 50 | 40 to 50 | 0 | 0 | 0%
50 | 60 | 50 to 60 | 0 | 0 | 0%
60 | 70 | 60 to 70 | 0 | 0 | 0%
70 | 80 | 70 to 80 | 0 | 0 | 0%
80 | 90 | 80 to 90 | 0 | 0 | 0%
90 | 100 | 90 to 100 | 0 | 0 | 0%
179

## NPgY Calculation
spare capacity |  |  | 10 | 366 |  | currently overloaded | 3 | sites | 0.8197%
capacity range |  |  | 2022 |  |  | overloaded capacity | -1.2491
-60 | -50 | -60 to -50 | 0 | 0 | 0% | spare capacity | 459.3217
-50 | -40 | -50 to -40 | 0 | 0 | 0%
-40 | -30 | -40 to -30 | 0 | 0 | 0%
-30 | -20 | -30 to -20 | 0 | 0 | 0%
-20 | -10 | -20 to -10 | 0 | 0 | 0%
-10 | 0 | -10 to 0 | 3 | -1.2491 | 0.8197%
0 | 10 | 0 to 10 | 167 | 1003.8368 | 45.63%
10 | 20 | 10 to 20 | 177 | 2402.6756 | 48.36%
20 | 30 | 20 to 30 | 18 | 423.6922 | 4.918%
30 | 40 | 30 to 40 | 1 | 35.6295 | 0.2732%
40 | 50 | 40 to 50 | 0 | 0 | 0%
50 | 60 | 50 to 60 | 0 | 0 | 0%
60 | 70 | 60 to 70 | 0 | 0 | 0%
70 | 80 | 70 to 80 | 0 | 0 | 0%
80 | 90 | 80 to 90 | 0 | 0 | 0%
90 | 100 | 90 to 100 | 0 | 0 | 0%
366